## Sheet1
Questions and Answers for Draft Study Scope
Question | Answer | Forum
Do the peak load estimates consider a recession? | Members submitted their data in March 2020 prior to understanding the extent and impacts of COVID-19. Each utiltiy may have a different answer, but it is generally assumed that the peak load estimates do not consider a recession. | EPSC Meeting 7/29
Does the Summer load case include the first part of September? | The WECC case is an August case. NorthernGrid can use the Production Cost Model to produce a case that is representative of early September. | EPSC Meeting 7/29
Does the Anchor Data Set (ADS) extend beyond 2030? | The ADS is a 2030 model. | EPSC Meeting 7/29
Is there a way to upload comments outside of the povided comment boxes on the NorthernGrid comment Portal? | There is not currently a way to do this. Please put any comments that don't apply to the provided topical boxes in the "other" box. You can also email comments that don't fit within the comment portal categories to Dave.Angell@nwpp.org. | EPSC Meeting 7/29
What is the scope of comments expected to include? | Please refer to the provided topic boxes within the NorthernGrid comment portal. These topic boxes match the key sections of the draft study scope. | EPSC Meeting 7/29
Is it possible to capture load changes in the 2021 update? | Yes and then NorthernGrid will determine if additional studies are necessary | EPSC Meeting 7/29
How are energy storage resources being used to support the transmission system? | The charging and discharging of energy storage is based on parameters established in the Production Cost Model as established by the WECC modeling subcommittee. Changing this is outside the scope of the Regional Transmission Plan. | EPSC Meeting 7/29
How will TransWest Express proposed generation resources be dispatched in a case? | The Production Cost Model will simulate annual wind generation patterns for Wyoming. | Stakeholder Meeting 7/29
357
660
578
1527
1164
4286